## Slide 1: Solar Power Proposal Plai Laem Soi 6 Bo Phut Samui
www.entropy.solar 0877221100
50 kW grid tie system
+ alternatives

## Slide 2: Standard 50kW solar system (PEA bill 50-100k)
50kW grid tie system
50kW monocrystalline array 30 year warranty
50 kW inverter PEA approved 5 -10 year warranty
Array 91 modules in 5 strings 4 MPPTs
System cost 699,950 |  | Annual saving 514,149 |  | RoI 73% |  | Payback 16 months | 

## Slide 3: PEA saving analysis (PEA bill 35k-70k)
50 kW system savings |  |  |  | 
 | Summer | Autumn | Winter | Spring
Power saving (kWh/day) | 272 | 256 | 311 | 320
Saving /day (B) | 1330 | 1252 | 1524 | 1570
Quarterly saving (B) | 121,062 | 113,927 | 138,675 | 142,911
Annual saving (B) | 516,575 |  |  | 

## Slide 4
2. SW house with existing 11kW
Low tilt roof close to MDB
3. SE house
Low tilt roof furthest from MDB
NE building
Pitched roof aligned N – S
Worst solar performace
Array Options
3 potential locations
91 modules
50kW array
Recommend option 2

## Slide 5: Long term benefits
Chart: Cumulative saving over system life
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Cost | 699950 | 699950 | 699950 | 699950 | 699950 | 699950 | 699950 | 699950 | 699950 | 699950 | 799900 | 799900 | 799900 | 799900 | 799900 | 799900 | 799900 | 799900 | 799900 | 799900 | 899850 | 899850 | 899850 | 899850 | 899850 | 899850
Saving | 0 | 516575 | 1027984.25 | 1534227.75 | 2035305.5 | 2531217.5 | 3021963.75 | 3507544.25 | 3987959 | 4463208 | 4933291.25 | 5398208.75 | 5857960.5 | 6312546.5 | 6761966.75 | 7206221.25 | 7645310 | 8079233 | 8507990.25 | 8931581.75 | 9350007.5 | 9763267.5 | 10171361.75 | 10574290.25 | 10972053 | 11364650
5 year 1.83 Mil |  | 10 year 4.13 Mil |  | 15 year 6.41 Mil |  | 20 year 8.45 Mil | 
10.5 million baht net benefit over 25 year life
Support service
1 year Free wifi monitoring |  | 1 year Unlimited service calls |  | 1 year Free cleaning |  | Lifetime Warranty claims | 
Continued support package year 2 + at 1% system cost
Assumes 1% array degradation/ year
New inverter years 10 and 20

## Slide 6: Higher power solar system (PEA bill 60-110k)
57kW grid tie system
58kW monocrystalline array 30 year warranty
50 inverter PEA approved 5 -10 year warranty
Array 104 modules in 5 strings 4 MPPTs
System cost 799,950 |  | Annual saving 562,663 |  | RoI 71% |  | Payback 15 months | 

## Slide 7: Maximum power solar system (PEA bill 80-110k)
79kW grid tie system
79kW monocrystalline array 30 year warranty
50 + 20 kW inverter PEA approved 5 -10 year warranty
Array 144 modules in 8 strings 6 MPPTs
System cost 959,360 |  | Annual saving 777,595 |  | RoI 81% |  | Payback 15 months | 

## Slide 8: Additional benefits
Marketing Benefits
Promote clean sustainability as a core value
Shading Benefits
Reduced AC demand due to passive shading