## Slide 1: Solar Power Proposal
Eitan Goldberg, Koh Phangan
www.entropy.solar 0877221100

## Slide 2: Recommended solar system
6.6 kW grid tie system
6.6 kW monocrystalline array 30 year warranty
6 kW inverter PEA approved 5 year warranty
System cost 157,019 |  | Annual saving 65.083 |  | RoI 41% |  | Payback 29 months | 
Grid tie system does not have battery backup during PEA outage

## Slide 3
6.6 kW system savings |  |  |  | 
 | Summer | Autumn | Winter | Spring
Daily energy (kWh) | 38 | 30 | 36 | 42
Saving 90 day (B) | 16926 | 13377 | 16052 | 18728
Daily saving (B) | 186 | 147 | 176 | 206
Annual saving (B) | 65,083 |  |  | 

## Slide 4: Long term benefits
Chart: Cumulative saving over system life
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Cost | 157000 | 157000 | 157000 | 157000 | 157000 | 157000 | 157000 | 157000 | 157000 | 157000 | 192000 | 192000 | 192000 | 192000 | 192000 | 192000 | 192000 | 192000 | 192000 | 192000 | 220000 | 220000 | 220000 | 220000 | 220000 | 220000
Saving | 0 | 65083 | 129515.17 | 193296.51 | 256427.02 | 318906.7 | 380735.55 | 441913.57 | 502440.76 | 562317.12 | 621542.65 | 680117.35 | 738041.22 | 795314.26 | 851936.47 | 907907.85 | 963228.4 | 1017898.12 | 1071917.01 | 1125285.07 | 1178002.3 | 1230068.7 | 1281484.27 | 1332249.01 | 1382362.92 | 1431826
5 year 162,000 |  | 10 year 430,000 |  | 15 year 716,000 |  | 20 year 958,000 | 
1.21 million baht net benefit over 25 year life
Support service
1 year Free wifi monitoring |  | 1 year Unlimited service calls |  | 1 year Free cleaning |  | Lifetime Warranty claims | 
Continued support package year 2 + at 1.5% system cost

## Slide 5: Additional benefits
Property / Rental Value
Resale value to environmentally and cost conscious buyers