## Slide 1: Solar Power Proposal
www.entropy.solar 0877221100

## Slide 2: Recommended solar system (PEA bill 12k)
System cost 181,287 |  | Annual saving 93,645 |  | RoI 52% |  | Payback 23 months | 
System limited by roof area to 17 modules
11kW grid tie system
9.5kW monocrystalline array 30 year warranty
11 kW inverter PEA approved 10 year warranty

## Slide 3
9 kW system savings |  |  |  | 
 | Summer | Autumn | Winter | Spring
Power saving (kWh) | 51 | 48 | 58 | 60
Saving 90 day (B) | 22750 | 21403 | 25862 | 26754
Daily saving (B) | 250 | 235 | 284 | 294
Annual saving (B) | 93645 |  |  | 

## Slide 4: Long term benefits
Chart: Cumulative saving over system life
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Cost | 181459 | 181459 | 181459 | 181459 | 181459 | 181459 | 181459 | 181459 | 181459 | 181459 | 240459 | 240459 | 240459 | 240459 | 240459 | 240459 | 240459 | 240459 | 240459 | 240459 | 299459 | 299459 | 299459 | 299459 | 299459 | 299459
Saving | 0 | 93645 | 186353.55 | 278125.65 | 368961.3 | 458860.5 | 547823.25 | 635849.55 | 722939.4 | 809092.8 | 894309.75 | 978590.25 | 1061934.3 | 1144341.9 | 1225813.05 | 1306347.75 | 1385946 | 1464607.8 | 1542333.15 | 1619122.05 | 1694974.5 | 1769890.5 | 1843870.05 | 1916913.15 | 1989019.8 | 2060190
5 year 277,000 |  | 10 year 654,000 |  | 15 year 1.06 Mil |  | 20 year 1.40 Mil | 
1.76 million baht net benefit over 25 year life
Support service
1 year Free wifi monitoring |  | 1 year Unlimited service calls |  | 1 year Free cleaning |  | Lifetime Warranty claims | 
Continued support package year 2 + at 1% system cost
Assumes
1% array degradation/ year linear warranty
Inverter replacement years 10 and 20

## Slide 5
Array / inverter configuration check
May need additional 100W small module
on panel group 2 (4 modules) to raise
Vmc to <150 Vmin
Or reduce to 1 string 7 kW system with 5.5
inverter
 |  | Cost |  | Cost/kW |  | RoI
9kW +100W module |  | 181,287 |  | 19.39 |  | 51%
7kW/5.5 inverter |  | 144,457 |  | 20.73 |  | 49%
Prices include installation and wifi, exclude VAT 7%

## Slide 6: Additional benefits
Property Value
Adds to resale value
Shading Benefits
Reduced AC demand due to passive shading

## Slide 9
Project scheduling
All components in stock, Phuket warehouse
Earliest install queue date: 1 March 2025
Expected install duration: 1-2 days
Expected electricity outage: 30 minutes
Payment schedule | 9.45 kW | 7.15 kW
Deposit; reserve date / materials | 20,000 | 20,000
All materials delivered | 60,000 | 90,000
Array mounted at nominal Voc, inverter mounted | 45,000 | 45,000
System configured at nominal performance | 32,244 | 38,977